## Disclaimer
acme bank – RHAIE Sizing Approximation
This is a sizing approximation for Red Hat AI Enterprise on OpenShift. Numbers and suggestions here are based on approximation and estimates provided through the RHOAI Sizing Wizard app. For an actual sizing, a separate sizing workshop with Red Hat is recommended.
Generated: 2026-10-02

## Sizing Summary
RHOAI sizing approximation — acme bank
Low: Low end of concurrent user range. High: High end of concurrent user range. Stress: Maximum concurrent users.
A. Headline numbers by scenario
Metric | Low | High | Stress | Unit
Total GPUs required | 6 | 17 | 56 | GPUs
Total cluster nodes | 14 | 15 | 19 | nodes
CPU worker nodes | 6 | 6 | 6 | nodes
Red Hat AI Enterprise subscriptions | 8 | 9 | 13 | nodes
B. Customer & deployment
Customer | acme bank
Project | acme ai
Deployment type | production
OpenShift version | 4.21
Connectivity | connected_proxy
Target | on_prem_bare_metal
Planning horizon (years) | 3
Annual growth rate | 25%
C. Storage totals
Object storage | 699.1 | GiB
Block storage | 350 | GiB
GPU-node local NVMe | 129.1 | GB
D. Checks before you quote
Status | Check | Detail
OK | NVIDIA B300 SXM6 AC host RAM rule (>= 2x total GPU memory per node) | Plan for >= 4320 GiB host RAM per NVIDIA B300 SXM6 AC node (8 GPUs x 270 GB x 2).
OK | NVIDIA B300 SXM6 AC physical cores rule | Plan for >= 6 physical cores per GPU (NVIDIA-Certified floor), >= 7 recommended.
OK | CPU worker node minimum (RHOAI install requirement) | 6 CPU worker node(s) planned; RHOAI requires >= 2 workers at >= 8 vCPU / 32 GiB each.
OK | N-1 capacity (one CPU worker node can fail) | 5 node(s) of capacity still covers 74.7 vCPU demand if sized with headroom.

## Workload Sizing
acme bank — use cases, models and GPU demand
A. Model deployments (from ConfigIQ Step 2)
Model | GPU | GPUs/replica | TP size | Weights (GB) | KV cache/1K tok (GB) | Max concurrent/replica | TTFT est. (ms) | Tokens/s | Precision
Qwen/Qwen3.5-35B-A3B | NVIDIA B300 SXM6 AC | 1 | 1 | 64.5583 | 176.3917 | 16 | 1115.6572 | 1776.8111
B. Use cases (freeform, as described by the customer)
Use case | Served by model | Users — Low | Users — High | Share in flight | Input tokens | Output tokens | Prefix cache hit rate | TTFT target (s) | Tokens/s target | Guard screened | Notes
Coding assistant | Qwen/Qwen3.5-35B-A3B | 60 | 80 | 0.3 | 150000 | 500 | 0.2 | 8 | 40 | No | Long context (~150K tokens), agentic developer use — Preferred model: Qwen3.6-35B-A3B
Customer support chatbot | Qwen/Qwen3.5-35B-A3B | 200 | 800 | 0.3 | 8000 | 400 | 0.2 | 2.5 | 90 | No | Customer-facing, wants fast response
Compliance document reviewer | Qwen/Qwen3.5-35B-A3B | 15 | 15 | 0.3 | 15000 | 800 | 0.2 | 6 | 50 | No | 15 analysts, 4 hours/day, policy docs + case notes as input
C. Load per model deployment (Low / High / Stress)
Model | Requests in flight — Low | Requests in flight — High | Requests in flight — Stress | Replicas — Low | Replicas — High | Replicas — Stress | GPUs — Low | GPUs — High | GPUs — Stress
Qwen/Qwen3.5-35B-A3B | 82.5 | 268.5 | 895 | 6 | 17 | 56 | 6 | 17 | 56

## GPU Performance
GPU performance and node demand by GPU type
GPU | GPU memory (GB) | GPUs/node | GPUs required — Low | GPUs required — High | GPUs required — Stress | Nodes required (High) | Nodes required (Stress)
NVIDIA B300 SXM6 AC | 270 | 8 | 6 | 17 | 56 | 3 | 7
GPU specifications reference
GPU | Memory (GB) | HBM BW (TB/s) | Dense FP4 PFLOPS | Dense FP8 PFLOPS | Power (W)
B300 | 270 | 8 | 13.5 | 4.5 | 1100
B200 | 180 | 8 | 9 | 4.5 | 1000
H200 NVL | 141 | 4.8 | 0 | 1.671 | 600
H100 NVL | 94 | 3.9 | 0 | 1.671 | 400

## Cluster Architecture
acme bank — target cluster architecture
A. Node pools
Role | Count | vCPU/node | RAM (GB)/node
Control plane | 3 | 4 | 16
Infra | 3 | 4 | 24
CPU worker | 6 | 16 | 64
GPU worker (NVIDIA B300 SXM6 AC) | 3 | — | —
B. Non-GPU demand build-up
Metric | Value | Unit
CPU worker vCPU demand | 74.7 | vCPU
CPU worker RAM demand | 196 | GiB
CPU worker nodes (computed) | 6 | nodes
C. Storage
Item | Value | Unit
Object storage | 699.1 | GiB
Block storage | 350 | GiB
GPU-node local NVMe | 129.1 | GB

## Cluster Requirements
Minimum cluster requirements and component dependencies
A. Platform inputs
OpenShift version | 4.21
Target cluster type | on_prem_bare_metal
Network connectivity | connected_proxy
Number of data science projects | 5
Concurrent workbenches | 5
Infra nodes per cluster | 3
B. Enabled components
Component | Status | Database | Prerequisites
Dashboard | GA
Workbenches | GA
AI Pipelines | GA | MariaDB/MySQL | S3-compatible object storage
KServe (Model Serving) | GA |  | cert-manager
Kueue | GA |  | Red Hat build of Kueue Operator, cert-manager
Model Registry | GA | MySQL 5.x+/8.x or PostgreSQL (in-cluster default: 5Gi PVC)
TrustyAI / Guardrails / EvalHub | GA | PostgreSQL
MLflow | GA | PostgreSQL (SQLite for dev/test only) | PostgreSQL, S3 (trace archival)
OGX (formerly Llama Stack) | GA | PostgreSQL (required for production; SQLite dev/test only) | OGX Operator, cert-manager, NFD, NVIDIA GPU Operator, S3 object storage, PostgreSQL Operator
C. Node count summary
Scenario | Total nodes
Low | 14
High | 15
Stress | 19

## Red Hat Subscriptions
acme bank — Red Hat subscription bill of materials
Red Hat AI Enterprise is counted per node, physical or virtual, for GPU and CPU worker nodes alike, regardless of the number of GPUs in a node.
SKU | Description | Qty (Low) | Qty (High) | Qty (Stress) | Remarks
MCT4990 | Red Hat AI Enterprise, Premium (1 Physical or Virtual Node) | 8 | 9 | 13 | Counts GPU worker nodes + CPU worker nodes across all enabled environments.

## Hardware BOM
acme bank — hardware bill of materials
Node type | GPU | GPUs/node | Nodes (Low) | Nodes (High) | Nodes (Stress)
gpu-nvidia-b300-sxm6-ac | NVIDIA B300 SXM6 AC | 8 | 2 | 3 | 7
cpu-worker | — | — | 6 | 6 | 6
control-plane | — | — | 3 | 3 | 3
infra | — | — | 3 | 3 | 3

## Backup and DR
acme bank — backup and disaster recovery
Environments configured
Environment | Included
Production | Yes
Disaster recovery | No
Test / UAT | Yes
Development | Yes
Recommended protection mechanisms
- Model artifacts: object storage geo-replication (asynchronous) to the DR site.
- Model Registry, MLflow and pipelines metadata: PostgreSQL streaming replication to DR.
- Workbench PVs and shared datasets: storage-level snapshot/mirroring on a 5-minute schedule.
- Cluster and RHOAI configuration: GitOps (Argo CD) + OADP backup of RHOAI namespaces.
- etcd: scheduled snapshot to object storage.

## Model Catalog
Selected models (sized via ConfigIQ)
Model | Params (B) | Active params (B) | Precision | GPU | GPUs/replica | Replicas (ConfigIQ default) | Weights (GB) | KV cache/1K tok (GB) | Captured at
Qwen/Qwen3.5-35B-A3B |  |  |  | NVIDIA B300 SXM6 AC | 1 | 1 | 64.5583 | 176.3917 | 2026-10-02T09:19:04.023Z